ARCHITECT & ENGINEER SPECIFICATIONS

SECTION  16780

VIDEO SURVEILLANCE SYSTEMS

SVT-3050/1

168 Hour -  VHS Time Lapse Recorder

w/ Vertical (Side) Mounting Capability

PART  2	PRODUCTS

2.01	CCTV TIME LAPSE VIDEO RECORDER SPECIFICATIONS

A.	VIDEO - GENERAL REQUIREMENTS

1.	The VTR (video tape recorder) shall utilize standard VHS tape format.

2.	The recording system shall be Dual Azimuth,  4-Head helical  scanning system.

3.	The VTR shall feature fourteen (14) user programmable time lapse recording modes. The time modes shall be 2/12/24/48/72/96/120/168 hour with a T-120 tape.

4.	The VTR shall feature a menu driven, on screen display for programming system functions and unit status.  This shall be possible with or without an active video input.

5.	There shall be a programmable, position selectable,  time/date generator which shall display month, day, year, hour, minute and second in a shadow character format.

6.	For unattended continuous recording the VTR shall feature an automatic repeat record setting.  This function shall be automatically overridden in the event of an alarm.

7.	Extended series recording shall be available by cascading multiple units together via series in and out terminals located on the rear panel.  As recording on one VTR is complete, the next unit is signaled to power up and recording is continued.

8.	To allow for automatic program changes the recorder shall feature  seven (7) day,  eight  (8) event internal timer capabilities. For connection to external devices there shall be a + 12 volts, 5.7k Ohm terminal output that follows timer activations.

9.	The VTR shall provide a dry contact input terminal to allow recording start and stop via external equipment or timers.

10.	The VTR shall have provisions to allow entry of up to 20 days, designated as non working days which shall follow the holiday record setting on the timer program.

11.	The VTR shall provide a record check function that when activated shall rewind the tape for approximately three (3) seconds and playback the tape for approximately two (2)  seconds.  The unit shall then return to its original record mode.

12.	The VTR shall be capable of  forward and reverse field by field play back in the Still Mode.

13.	The VTR shall be capable of RS-232C communication with external devices, such as a personal  computer,  via the optional SVT-RS1A interface board.

14.	The VTR shall provide a  mini jack for connection of an external remote control device.

15.	The VTR shall feature automatic head cleaning.

16.	To protect against unauthorized use or accidental system changes the VTR  shall feature a programmable security lock feature.

17.	The VTR shall have the electrical and mechanical properties to allow for vertical (side) mounting.

B.	VIDEO - ELECTRICAL REQUIREMENTS

1.	The input voltage shall be AC 120 volts, 60 Hz.  Power consumption shall be 17 watts.

2.	The VTR shall have thirty (30) day power protection failure for time/date and record mode.

3.	The signal system shall be EIA / NTSC standard for color video signals.

4.	The VTR shall produce a minimum 350 horizontal lines resolution, monochrome and 300 horizontal lines resolution, color.

5.	To obtain optimum picture performance the VTR shall feature Adaptive Picture Control (APC)  which automatically adjusts for the optimum video head bias based on the current condition of the tape and the video heads.

6.	The composite video input shall be 1.0 volt  peak to peak @ 75 Ohms, unbalanced via BNC connector.

7.	The VTR shall be capable of video signal loop through on power off mode, and E-E mode during normal power ON conditions.

8.	The composite video output shall be 1.0 volt  peak to peak @ 75 Ohms,  unbalanced via BNC connector.

9.	The signal to noise ratio shall be more than 44 dB (SP).

10.	The approximate recording intervals for each record mode, with a T-120 tape, shall be -                     2 hr/1/60 sec; 12 hr/0.1 sec; 24 hr/0.2 sec; 48 hr/0.4 sec; 72 hr/0.6 sec; 96 hr/0.8 sec; 120 hr/1.0 sec; 168 hr/4 sec.

11. A +5V, 5.7 k Ohm (active low) switch pulse output terminal shall be provided for interfacing with externally driven switchers, multiplexers or other devices. Switch pulse output of the unit shall be field or frame selectable.  It shall be selectable for 1,2,3,4,5,10,30 or 60 Frame(s)/Field(s).

12. A clock set input and output terminal shall be provided on the rear of the unit.  This shall allow  multi-unit clock synchronization, which shall be updated once per day, specified to the hour by the end user.

13.	The recorder shall feature stationary erase head configuration.

14.	The fast forward/ rewind time with a T-120 tape shall be less than four (4) minutes.

C.	AUDIO REQUIREMENTS

1.	Audio recording shall be available in the 2, 12, and 24 hour recording modes.

2.	The audio input  shall be -7.8dBs @ 47 k Ohms via an Phono style connector.

3.	The audio output shall be -7.8dBs  @ 600 Ohms via an Phono style connector.

4.	The VTR shall provide a MIC input , -60dBs, 600 Ohm via a mini jack connector.

D.	ALARM REQUIREMENTS

1.	For alarm record mode activation from external devices the VTR shall provide a normally open, dry contact input via screw terminals.

2.	There shall be a +5  volts,  4.7 k Ohms alarm output available via screw terminals for connection to external devices.  The alarm output shall follow alarm input activation, active low.

3.	The alarm recording speeds shall be programmable for 2 hour mode, 12 hour mode or no change.

4.	The VTR shall be fitted with a built-in buzzer which shall be activated during alarm recording or end of tape.  This buzzer shall be capable of being manually activated/deactivated.

5.	The VTR shall have switch selectable alarm duration speeds of twenty (20) seconds, one (1) minute, or follow the alarm activation period.

6.	An on-screen alarm recall log shall display the last eight (8) alarms by alarm count, month, day and time of occurrence, plus a running count of up to 999 alarm activations.

7.	To audit and select alarm activations for viewing,  the first five seconds of each alarm activation may be viewed via the alarm scan feature.

8.	A warning out signal shall be provided in the event recording is interrupted due to tape jam.

9.	For signaling the end of the video tape a screw terminal output, +5 volts, 4.7 k Ohm signal shall be provided, active low.  The alarm buzzer shall also activate.

E.	MECHANICAL REQUIREMENTS

1.	For  rack mount accessibility  the VTR shall feature front panel tape loading.

2.	The recorder dimensions shall be 16 5/8"w x 4"h x 13 3/4"d  ( 420 x 100 x 349 mm ) and weigh 	12 	lb.  9 oz.   (5.8 kg)

3.	The VTR  shall be capable of work station surface mounting or EIA standard 19" rack mounting with optional rack mount assembly.

F.	ENVIRONMENTAL REQUIREMENTS

1.	The operating temperature shall be 41 degrees F  to 104 degrees F  (5 C to +40 C).

Operating humidity shall be 35 percent to 80 percent,  non-condensing.

2.	The recorder will be suitable for indoor applications.  Proper ventilation and filtering shall be required to maintain operating temperature and air quality  when mounted in  equipment cabinets or other confined areas.

G.	REFERENCES

1.	UL Listed 1409 - Low-Voltage Video Products Without Cathode-Ray-Tube Displays

2.	CSA Listed C22.2 # 1

3.	FCC Verified, Class A Digital Device

H.	ACCESSORIES

1.	Included

a.	AC Cord

b.	Operating Instructions

2.	Optional

a.	SMB-5000 Rack Mount Kit - 3 units high (5.25")

b.	SVT-RS1A - RS-232C Interface Board

c.	T-120PM - 120 minute VHS Tape

(1998 Sony Electronics Inc.  All rights reserved.  Features and specifications are subject to change without notice.  Non-metric weights and measurements are approximate.  SONY, Hyper Had, Trinitron, CCD-Iris and Nothing Escapes Us are trademarks of Sony.