ARCHITECT & ENGINEER SPECIFICATIONS

SECTION  16780

VIDEO SURVEILLANCE SYSTEMS

SVT-L400

168 Hour High Density VHS

Time Lapse Recorder

PART  2	PRODUCTS

2.01	CCTV TIME LAPSE VIDEO RECORDER SPECIFICATIONS

A.	 VIDEO - GENERAL REQUIREMENTS

The VTR (video tape recorder) shall utilize standard VHS tape format.

The recording system shall be Dual Azimuth,  4-Head helical  scanning system.

The VTR shall feature eight (8) user programmable time lapse recording modes. The program modes shall be dependent on the tape being used.

a.   The time modes with a T-120 tape shall be 6/18/30/48/72/96/120/168 hour.

b.   The time modes with a T-160 tape shall be 8/24/40/64/96/126/160/224 hour.

4. 	The VTR shall feature a menu driven, on screen display for programming system 	functions 	and unit status.  This shall be possible with or without an active video input.

5.   There shall be a programmable, position selectable,  time/date generator which shall 	display month, day, year, hour, minute and second in a shadow character format.

6.   For unattended continuous recording the VTR shall feature an automatic repeat record 	setting.  This function shall be automatically overridden in the event of an alarm.

7.   Extended Series recording shall be available by cascading multiple units together via 	series 	in and out terminals located on the rear panel.  When End of Tape is reached on 	the 	first unit, a series out signal is sent to the second unit to start recording.

8.   To allow for automatic program changes the recorder shall feature  seven (7) day,  eight  	(8) event internal timer capabilities.  For connection to external devices there shall be a 	+ 5 volts contact output that follows timer activations.

9.   The VTR shall provide a dry contact input terminal to allow recording start and stop via 	external equipment or timers.

10. The VTR shall have provisions to allow entry of up to 20 days, designated as non 			working days which shall follow the holiday record setting on the timer program.

11. The VTR shall provide a record check function that when activated shall rewind the tape 	for approximately three (3) seconds and playback the tape for approximately two (2)  	seconds.  The unit shall then return to its original record mode.

12. The VTR shall be capable of  forward field by field play back in the Still Mode.

13.	The VTR shall be capable of RS-232C communication with external devices, such as a 	personal    computer,  via the optional SVT-RS1A interface board.

14.	The VTR shall provide a  mini jack for connection of an external remote control device.

15.	The VTR shall feature automatic head cleaning.

16.	The VTR shall continually monitor the video signal integrity.  If a recording can not be 	 	made properly the unit shall activate the Clog Detection  warning.

17.	To protect against unauthorized use or accidental system changes the VTR  shall feature 	a programmable security lock feature.

B.   VIDEO - ELECTRICAL REQUIREMENTS

1.	The input voltage shall be AC 120 volts, 60 Hz.  Power consumption shall be 17 watts.

2.   The VTR shall have thirty (30) day power protection failure for time/date and record 	mode.

3.   The signal system shall be EIA / NTSC standard for color video signals.

4.   The VTR shall produce a minimum 350 horizontal lines resolution, monochrome and 300 horizontal lines resolution, color.

5.   To obtain optimum picture performance the VTR shall feature Adaptive Picture Control 	(APC)  which automatically adjusts for the optimum video head bias based on the current 	condition of the tape and the video heads.

6.   The composite video input shall be 1.0 volt  peak to peak @ 75 Ohms, unbalanced via 	BNC connector.

7.   The VTR shall be capable of video signal loop through on power off mode, and E-E 	mode 	during normal power ON conditions.

8.   The composite video output shall be 1.0 volt  peak to peak @ 75 Ohms,  unbalanced via 	BNC connector.

9.   The signal to noise ratio shall be more than 43 dB (EP).

10. The approximate recording intervals for each record mode shall be:

a.   T-120 tape: 6 hr/1/60 sec; 18 hr/1/20 sec; 30 hr/1/12 sec; 48 hr/0.15 sec; 72 hr/0.22 	sec; 96 hr/0.28 sec; 120 hr/0.35 sec; 168 hr/0.48 sec.

b.   T-160 tape: 8 hr/1/60 sec; 24 hr/1/20 sec; 40 hr/1/12 sec; 64 hr/0.15 sec; 96 hr/0.22 	sec; 126 hr/0.28 sec; 160 hr/0.35 sec; 224 hr/0.48 sec.

11. A +5V, 5.7 kOhm (active low) switch pulse output terminal shall be provided for 		interfacing with externally driven switchers, multiplexers or other devices.  Switch 	pulse 	output of the unit shall be field or frame selectable.  It shall be selectable for 	1,2,3,4,5,10,30 or 60 frame(s)/Field(s).

12.  A Clock Set input and output terminal shall be provided on the rear of the unit.  This 	shall 	allow multi-unit clock synchronization, which shall be updated once per day, 	specified to 	the hour by the end user.

13. The VTR shall feature a Daylight  Savings Time clock advance function.  Activating 			feature advances time by one hour.

14. The recorder shall feature stationary erase head configuration.

15.	The fast forward/ rewind time with a T-120 tape shall be less than 2.5 minutes with a T-	120 tape.

C.   AUDIO REQUIREMENTS

1.   Audio recording shall be available in the following modes

a.   T-120: 6, 18, and 30 hour.

b.   T-160: 8, 24 and 40 hour.

2.   The audio input  shall be -7.8dBs @ 47 k Ohms via an Phono style connector.

3.   The audio output shall be -7.8dBs  @ 600 Ohms via an Phono style connector.

4.   The VTR shall provide a MIC input , -60dBs, 600 Ohm via a mini jack connector.

D.   ALARM REQUIREMENTS

1. 	For alarm record mode activation from external devices the VTR shall provide a normally 	open, dry contact input via screw terminals.

2.   There shall be a +5  volts,  5.7k Ohms alarm output available via screw terminals for 	connection to external devices.  The alarm output shall follow alarm input activation, 	active low.

3.   The alarm recording speeds shall be programmable for 6 hour (T-120), 8 hour (T-160) 	and No Change.

4.   The VTR shall be fitted with a built-in buzzer which shall be activated during Alarm 	Recording or End of Tape.  This buzzer shall be capable of being manually 	activated/deactivated.

5.   The VTR shall have programmable alarm duration speeds of twenty (20) seconds,  1, 2, 3, 	4, 5 minutes, or follow the alarm activation period.

6.   An on-screen Alarm Recall log shall display the last eight (8) alarms by alarm count, 	month, day and time of occurrence, plus a running count of up to 999 alarm activations.

7.   To audit and select alarm activation’s for viewing,  the first five seconds of each alarm 	activation may be viewed via the Alarm Scan feature.

8.    Alarm search shall be accomplished through the Time/Date search feature.  For proper 	search operation to take place, the alarm record speed shall be in the 6(8) hour mode, for 	a minimum duration of twenty seconds.

9.   A warning out signal shall be provided in the event recording is interrupted due to tape 	jam or clogged video heads.

10. For signaling the end of the video tape a screw terminal output, +5 volts, 4.7 kOhm signal 	shall be provided, active low.  The alarm buzzer shall also activate.

E.   MECHANICAL REQUIREMENTS

1.   For  rack mount accessibility  the VTR shall feature front panel tape loading.

2.   The recorder dimensions shall be 16 5/8"w x 4"h x 13 1/2"d  ( 420 x 100 x 340 mm ) and 	weigh 12 lb.  9 oz.   (5.8 kg)

3.   The VTR  shall be capable of work station surface mounting or EIA standard 19" rack 	mounting with optional rack mount assembly.

F.   ENVIRONMENTAL REQUIREMENTS

1.   The operating temperature shall be 41 degrees F  to 104 degrees F  (+5 degrees c to +40 	degrees C).  Operating humidity shall be less than 80 percent,  non-condensing.

2.   The recorder will be suitable for indoor applications.  Proper ventilation and filtering 	shall  be required to maintain operating temperature and air quality  when mounted in  	equipment cabinets or  other confined areas.

G.   REFERENCES

1.   UL Listed 1409 - Low-Voltage Video Products Without Cathode-Ray-Tube Displays

2.   CSA Listed C22.2 # 1

3.   FCC Verified, Class B Digital Device

H.   ACCESSORIES

1.   Optional

a.   SMB-5000 Rack Mount Kit - 3 units high (5.25")

b.   SVT-RS1A - RS-232C Interface Board

c.   T-120PM - 120 minute VHS Tape

d.   T-160VE - 160 minute VHS Tape

(1997 Sony Electronics Inc.  All rights reserved.  Feature and specifications subject to change without notice.  Non-metric weights and measurements are approximate. SONY and Nothing Escapes Us are trademarks of Sony.