## ARC chains
Instructions
Defaults
Power Supply |  | 15 | Volts
24 AWG Cable Resistance |  | 28.6 | Ω / 1000'
26 AWG Cable Resistance |  | 41 | Ω / 1000'
28 AWG Cable Resistance |  | 82 | Ω / 1000'
NOTE: Most but not all CAT-5 cable uses 24AWG conductors.
cable error compensation |  | 1.1 | "+10% error"
1 ARC on the chain
| ARC-PS | Cable 1 | Cable 2 | ARC 1
AWG of CAT5 cable |  | 24 | 24
Length of cable (feet) |  | 200 | 0 | OK
PWR cable Resistance (Ω) |  | 3.146 | 0
GND cable Resistance (Ω) |  | 1.573 | 0
Voltage at ARC's power input |  |  |  | 14.6253
Voltage at ARC's ground input |  |  |  | 0.18734
ARC Voltage (V) |  |  |  | 14.438
ARC Current (mA per) |  |  |  | 119.0947
Total current to chain (mA) |  | 119.0947
2 ARCs on the chain
| ARC-PS | Cable 1 | Cable 2 | ARC 1 | Cable | ARC 2
AWG of CAT5 cable |  | 24 | 24 |  | 26
Length of cable (feet) |  | 200 | 0 | OK | 100 | OK
PWR cable Resistance (Ω) |  | 3.146 | 0 |  | 2.255
GND cable Resistance (Ω) |  | 1.573 | 0 |  | 1.1275
Voltage at ARC's power input |  |  |  | 14.2025 |  | 13.912
Voltage at ARC's ground input |  |  |  | 0.39877 |  | 0.54402
ARC Voltage (V) |  |  |  | 13.8037 |  | 13.3679
ARC Current (mA per) |  |  |  | 124.6898 |  | 128.8205
Total current to chain (mA) |  | 253.5102
3 ARCs on the chain
| ARC-PS | Cable 1 | Cable 2 | ARC 1 | Cable | ARC 2 | Cable | ARC 3
AWG of CAT5 cable |  | 24 | 24 |  | 26 |  | 26
Length of cable (feet) |  | 200 | 0 | OK | 100 | OK | 100 | OK
PWR cable Resistance (Ω) |  | 3.146 | 0 |  | 2.255 |  | 2.255
GND cable Resistance (Ω) |  | 1.573 | 0 |  | 1.1275 |  | 1.1275
Voltage at ARC's power input |  |  |  | 13.6589 |  | 12.9967 |  | 12.6584
Voltage at ARC's ground input |  |  |  | 0.67056 |  | 1.0017 |  | 1.1708
ARC Voltage (V) |  |  |  | 12.9883 |  | 11.995 |  | 11.4876
ARC Current (mA per) |  |  |  | 132.6306 |  | 143.6675 |  | 149.9964
Total current to chain (mA) |  | 426.2945
4 ARCs on the chain
| ARC-PS | Cable 1 | Cable 2 | ARC 1 | Cable | ARC 2 | Cable | ARC 3 | Cable | ARC 4
AWG of CAT5 cable |  | 24 | 24 |  | 26 |  | 26 |  | 26
Length of cable (feet) |  | 100 | 0 | OK | 50 | OK | 50 | OK | 50 | OK
PWR cable Resistance (Ω) |  | 1.573 | 0 |  | 1.1275 |  | 1.1275 |  | 1.1275
GND cable Resistance (Ω) |  | 0.7865 | 0 |  | 0.56375 |  | 0.56375 |  | 0.56375
Voltage at ARC's power input |  |  |  | 14.1603 |  | 13.6997 |  | 13.3879 |  | 13.2306
Voltage at ARC's ground input |  |  |  | 0.41984 |  | 0.65014 |  | 0.80604 |  | 0.88472
ARC Voltage (V) |  |  |  | 13.7405 |  | 13.0496 |  | 12.5819 |  | 12.3458
ARC Current (mA per) |  |  |  | 125.2736 |  | 132.0018 |  | 136.9483 |  | 139.5786
Total current to chain (mA) |  | 533.8023
Conditions (worst case):
Max brightness
Displays ########
Note on A1: Instructions 1. Based on how many ARCs you have on each chain (1-4), use the appropriate row on the spreadsheet. 2. Enter the length of cable in feet between the ARC-PS and ARCs and between each additional ARC under "Cable". The Cable 1 and Cable 2 boxes are provided just in case you are using two different cable segments between the ARC-PS and ARC 1. If this is not the case, simply use the Cable 1 cell and and leave Cabe 2 set to 0. 3. Choose the wire gague of the cable you are using from the drop-down list under "Cable". Most but not all CAT-5 cable uses 24AWG conductors. This information is sometimes printed on the cable itself. If not, see the cable manufactuer's data sheet for more information. 4. If the selected configuration will work each ARC will display "OK". If not it will display "Doesn't Work". If it doesn't work, decrease cable lengths, number of ARCs and/or wire gauge.

## ARC Current Consumption Graph
Voltage (V) | Current (mA)
3.5 | 677
4 | 480
4.5 | 415
5 | 365
5.5 | 326
6 | 292
6.5 | 266
7 | 246
7.5 | 228
8 | 213
8.5 | 200
9 | 189
9.5 | 179
10 | 168
10.5 | 161
11 | 153
11.5 | 147.5
12 | 141
12.5 | 136.5
13 | 132
13.5 | 127
14 | 124
14.5 | 120.5
15 | 117
Conditions (worst case):
Max brightness
Displays ########